| GOVERNMENT POLYTECHNIC JAJPUR A/ P: Ragadi, Block: Korei, Dist.: Jajpur, Odisha- 755019 Website: https://www.gpjajpur.org E-mail: principalgpjajpur@yahoo.co.in Contact: 9437155107 |  |  |  |  |
| --- | --- | --- | --- | --- |
| DEPARTMENT OF CIVIL ENGINEERING |  |  |  |  |
| LESSON PLAN |  |  |  |  |
| Discipline: Civil Engg |  | Semester: 5Th | Name of the Teaching faculty: RAJASHREE NAYAK |  |
| Subject: Water Supply & Waste Water Engineerin. Th-4 | No of Days/Week class alloted: 5 days | Semester from Date: 14.07.2025 To Date:15.11.2025 |  |
| Week |  | Class Day | Topics |  |
| 1st |  | 1st | Introduction to Water Supply, Quantity and Quality of water Necessity of treated water supply |  |
|  |  | 2nd | Per capita demand, variation in demand and factors affecting demand |  |
|  |  | 3rd | Methods of forecasting population |  |
|  |  | 4th | Numerical problems using different methods |  |
|  |  | 5th | Impurities in water – organic and inorganic, Harmful effects of impurities |  |
| 2nd |  | 1st | Analysis of water –physical. |  |
|  |  | 2nd | Analysis of water –chemical |  |
|  |  | 3rd | Analysis of water – bacteriological |  |
|  |  | 4th | Water quality standards for different uses |  |
|  |  | 5th | Water quality standards for different uses |  |
| 3rd |  | 1st | Sources and Conveyance of water Surface sources – Lake, stream, river and impounded reservoir |  |
|  |  | 2nd | Underground sources – aquifer type & occurrence – Infiltration gallery, infiltration well, springs, well |  |
|  |  | 3rd | Yield from well- method s of determination, Numerical problems using yield formulae ( deduction excluded) |  |
|  |  | 4th | Yield from well- method s of determination, Numerical problems using yield formulae ( deduction excluded) |  |
|  |  | 5th | Intakes – types, description of river intake, reservoir intake, canal intake |  |
| 4th |  | 1st | Pumps for conveyance & distribution – types, selection, installation. |  |
|  |  | 2nd | Pipe materials – necessity, suitability, merits & demerits of each type |  |
|  |  | 3rd | Pipe joints – necessity, types of joints, suitability, methods of jointing Laying of pipes – method |  |
|  |  | 4th | Treatment of water : Introduction. |  |
|  |  | 5th | Detailed sketches of units, preferably from working drawing, as home assignment Field visit to treatment plant, under practical. |  |
| 5th |  | 1st | Flow diagram of conventional water treatment system |  |
|  |  | 2nd | Treatment process / units : Aeration ; Necessity |  |
|  |  | 3rd | Plain Sedimentation : Necessity, working principles, Sedimentation |  |
|  |  | 4th | Sedimentation with coagulation: Necessity, principles of coagulation, types of coagulants, Flash Mixer, Flocculator, Clarifier (Definition and concept only |  |
|  |  | 5th | Filtration : Necessity, principles, types of filters Slow Sand Filter, Rapid Sand Filter and Pressure Filter – essential features |  |
| 6th |  | 1st | Filtration : Necessity, principles, types of filters Slow Sand Filter, Rapid Sand Filter and Pressure Filter – essential features |  |
|  |  | 2nd | Filtration : Necessity, principles, types of filters Slow Sand Filter, Rapid Sand Filter and Pressure Filter – essential features |  |
|  |  | 3rd | Disinfection : Necessity, methods of disinfection Chlorination – free and combined chlorine demand, available chlorine |  |
|  |  | 4th | residual chlorine, pre-chlorination, break point chlorination, super- chlorination |  |
|  |  | 5th | Softening of water – Necessity, Methods of softening – Lime soda process and Ion exchange method |  |
| 7th |  | 1st | Distribution system And Appurtenance in distribution system: General requirements, types of distribution system. |  |
|  |  | 2nd | Types of distribution system-gravity, direct and combined. |  |
|  |  | 3rd | Types of distribution system-gravity, direct and combined. |  |
|  |  | 4th | Methods of supply – intermittent and continuous |  |
|  |  | 5th | Distribution system layout. |  |
| 8th |  | 1st | Distribution system types, comparison & suitability |  |
|  |  | 2nd | Valves-types, features, uses. |  |
|  |  | 3rd | Valves : purpose of-sluice valves, check valves, air valves, scour valves, Fire hydrants & Water meters . |  |
|  |  | 4th | W/s plumbing in building : Method of connection from water mains to building supply |  |
|  |  | 5th | WASTE WATER ENGINEERING. Introduction: Aims and objectives of sanitary engineering. |
| 9th |  | 1st | Definition of terms related to sanitary engineering |  |
|  |  | 2nd | Systems of collection of wastes. |  |
|  |  | 3rd | Conservancy and Water Carriage System – features, comparison, suitability |  |
|  |  | 4th | Conservancy and Water Carriage System – features, comparison, suitability |  |
|  |  | 5th | Quantity and Quality of sewage Quantity of sanitary sewage – domestic & industrial sewage, variation in sewage flow |  |
| 10th |  | 1st | Numerical problem on computation quantity of sanitary sewage. |  |
|  |  | 2nd | Computation of size of sewer, application of Chezy’s formula, Limiting velocities of flow : self-cleaning and scouring |  |
|  |  | 3rd | General importance, strength of sewage, Characteristics of sewage-physical, chemical & biological |  |
|  |  | 4th | General importance, strength of sewage, Characteristics of sewage-physical, chemical & biological |  |
|  |  | 5th | Concept of sewage-sampling, tests for – solids, pH, dissolved oxygen, BOD, COD |  |
| 11th |  | 1st | Concept of sewage-sampling, tests for – solids, pH, dissolved oxygen, BOD, COD |  |
|  |  | 2nd | Sewerage system Types of system-separate, combined, partially separate , features, comparison between the types, suitability |  |
|  |  | 3rd | Types of system-separate, combined, partially separate , features, comparison between the types, suitability |  |
|  |  | 4th | Shapes of sewer – rectangular, circular, avoid-features, suitability |  |
|  |  | 5th | Laying of sewer-setting out sewer alignment |  |
| 12th |  | 1st | Laying of sewer-setting out sewer alignment |  |
|  |  | 2nd | Sewer appurtenances and Sewage Disposal: Manholes and Lamp holes – types, features, location, function |  |
|  |  | 3rd | Inlets, Grease & oil trap – features, location, function |  |
|  |  | 4th | Storm regulator, inverted siphon – features, location, function |  |
|  |  | 5th | Disposal on land – sewage farming, sewage application and dosing, sewage sickness-causes and remedies |  |
| 13th |  | 1st | Disposal on land – sewage farming, sewage application and dosing, sewage sickness-causes and remedies |  |
|  |  | 2nd | Disposal by dilution – standards for disposal in different types of water bodies, self purification of stream |  |
|  |  | 3rd | Disposal by dilution – standards for disposal in different types of water bodies, self purification of stream |  |
|  |  | 4th | Sewage treatment : Detailed sketches of units |  |
|  |  | 5th | Principles of treatment, flow diagram of conventional treatment |  |
| 14th |  | 1st | Principles of treatment, flow diagram of conventional treatment |  |
|  |  | 2nd | Primary treatment – necessity, principles, essential features, functions |  |
|  |  | 3rd | Primary treatment – necessity, principles, essential features, functions |  |
|  |  | 4th | Primary treatment – necessity, principles, essential features, functions |  |
|  |  | 5th | Secondary treatment – necessity, principles, essential features, functions |  |
| 15th |  | 1st | Secondary treatment – necessity, principles, essential features, functions |  |
|  |  | 2nd | Sanitary plumbing for building : Requirements of building drainage, layout of lavatory blocks in residential buildings, layout of building drainage |  |
|  |  | 3rd | Plumbing arrangement of single storied & multi storied building as per I.S. code practice |  |
|  |  | 4th | Sanitary fixtures – features, function, and maintenance and fixing of the fixtures – water closets, flushing cisterns, urinals, inspection chambers, traps, anti-syphonage pipe |  |
|  |  | 5th | Sanitary fixtures – features, function, and maintenance and fixing of the fixtures – water closets, flushing cisterns, urinals, inspection chambers, traps, anti-syphonage pipe. |  |
| 16th |  |  | PREVIOUS YEAR QUESTIONS ANSWER SESSION SOLVED SESSION & QUIZ |  |
| LearningResources: |  |  |  |  |
| Sl No. | Author Name |  |  | Name of the Book |
| 1 | G.S.Birdie |  |  | Text book on water supply and sanitary engineering |
| 2 | S.K.Garg |  |  | Water Supply Engineering |
| 3 | S.K.Garg |  |  | Waste Water Disposal Engg |

PREPARED BY

RAJASHREE NAYAK

LECT.IN CIVIL ENGG.