# QUESTION BANK

DEPARTMENT OF ELECTRICAL ENGINEERING

GOVT. POLYTECHNIC,JAJPUR

ENERGY CONVERSION-II SEMESTER-5TH

# SHORT QUESTIONS

- Why rotor slots of an induction motor are skewed?

- Write down the advantages of stationary armature of alternator?

- What is plugging?

- What do u mean by voltage regulation of an alternator?

- What is damper bar or damper winding?

- State the applications of synchronous motor.

- Write down the uses of universal motor.

- Define the step angle of a stepper motor.

- What are the conditions required for parallel operation of 3 phase transformers?

- Why parallel operation of an alternator is required?

- What is hunting?

- What is v and inverted v curves of synchronous motor?

- What are the different vector groups of 3 phase transformer winding connections?

- What do you mean by an infinite bus?

- Which type of alternators is used in hydroelectric power plant and why?

- What is he relation between electrical degrees and mechanical angle of an alternator?

- State the different between coil pitch and pole pitch.

- State pitch factor and distribution factor.

- Why a starting winding is needed for a single-phase motor?

- What is the difference between a power transformer and distribution transformer?

- Write the applications of universal motor.

- Why transformer rating is expressed in KVA?

- What is voltage regulations?

- What is slip of an induction motor?

# LONG QUESTIONS

- Derive the equation for distribution magnetic stepper motor.

- Explain the working of permanent magnetic stepper motor.

- Explain the double field revolving theory in single phase induction motor.

- What are the advantages and conditions for parallel operations of three phase transformers?

- Describe the speed-torque characteristic of three phase induction motor.

- What is armature reaction in an alternator? Explain with phasor diagram the effects of generated voltage when load is (i) Resistive (ii) Pure inductive (iii) Pure capacitive

- Explain the effects of change of excitations of a synchronous motor driving a constant load.

- Explain the construction, working principle and applications of universal motor.

- Explain working principle of 3 phase I.M.

- Derive the condition for maximum torque of 3 phase I.M. under running condition,

- Derive expression for distribution factor of an alternator.

- Explain how 3 phase supply produces a rotating magnetic field.

- Explain about armature reaction of alternator.

- Explain how a synchronous motor acts as a synchronous condenser with the help of vector diagram.

- Explain hunting of synchronous motor.

- State and explain maintenance schedules of a power transformer.

- Write in brief about the applications of synchronous motor.

- Write in brief about field revolving theory?

- Write in brief about principle of operation of shaded pole motor.

- Write in brief about the total maintenance of 3 phase transformers.

- With neat sketch explain the working of a repulsion motor.