QUESTION BANK

DEPARTMENT OF ELECTRICAL

ENGINEERING

GOVT. POLYTECHNIC, JAJPUR

UTILIZATION OF ELECTRICAL

ENERGY & TRACTION

SEMESTER-5TH

2 MARK EACH

- Define current efficiency.

- define energy efficiency.

- state illumination.

- define luminous flux.

- define solid angle.

- define plain angle.

- Define current efficiency in electrolysis ?

- State two applications of electrolysis?

- State two applications of electrolysis?

- Define Arc welding ?

- Define Illumination ?

- State MHCP.

- State MSCP.

- State MHSCP.

- State MHCP.

- State lumen.

- State depreciation factor.

- State brightness.

- WHY ALTERNATING current is found most suitable for resistance welding?

- State Stephen’s law of radiation.

- Define electro -chemical equivalent of a substance.

- Define maintenance factor of illumination.

- What are the advantages of dielectric heating?

- Distinguish between butt welding and spot welding.

- Mention the advantages of electrification of track.

- What is group electric drive?

- What electrolytes must be used for refining the following material. (i)copper (ii)iron

- What is lambert’s cosine law in illumination?

- State any two application of three phase induction motor.

- What is faraday’s second law of electrolysis?

- What are the group of systems of electric traction?

- Name any two type of arc welding.

- Name any two advantages of vertical core type induction furnace.

- Write any two difference between AC&DC arc welding.

- Define skin effect.

5 MARK EACH

- Discuss D.C &A.C arc phenomenon.

- Nature of radiation and its spectrums.

- Describe light distribution and control.

- Design simple lighting schemes and depreciation factor.

- State and Explain about the Factors affecting the amount of Electro Deposition ?

- State Advantages of electrical heating Over other method of Heating ?

- Explain Principle of dielectric heating and its application ?

- derive MHCP ,MSCP,&MHSCP.

- State faradays laws of electrolysis?

- Explain arc welding?

- Working principle of direct core type &vertical core type induction furnace.

- Explain the basic difference between electric arc welding & resistance arc welding.

- What are the factors on which the quality of electro-plating depends?

- Explain resistance heating and classify it.

- Explain the law of illumination.

- What are the advantages of electric traction over other system?

- A 230v lamp has a total flux of 2000 lumens and takes a current of 0.4348A.calculate(i)lumens per watt&(ii)the MSCP per watt.

- Discuss the characteristics of dc series motor.

- Describe the extraction of aluminum in fused electrolyte process.

- Describe about the working principle of gas-filled lamp with the help of a neat diagram.

- Explain the speed control of dc traction motors by series parallel control method.

- Write short notes on individual drives.

- Explain the single phase ac system of track electrification briefly.

- Describe the polar curves in illumination, and their uses with a neat diagram.

- Explain the working principle of indirect arc furnace with a neat sketch.

- Short notes on micro wave heating.

- Short notes on method of choice of electric drive

10 MARK EACH

- Describe the constructional features and operation of high pressure mercury vapour lamp

- in detail.

- Write a short notes on i)spot welding ii)single phase ac system of track electrification.

- Describe the three modes of heat transfer in substances briefly.

- Write a short notes on i)projection welding ii)speed control of dc traction motors by

- tapped field control method.

- Explain the factors in which the design of simple lighting scheme depends.

- A current of 0.965A passing through silver nitrate solution for 10 minutes. Calculate the weight of silver deposited on the cathode.(atomic weight of silver =108& valency factor=1) explain working of fluorescent tube with circuit diagram . what is the function of a choke and starter in fluorescent tube?

- Discuss the vertical core type inductance furnace and explain its working.

- Write short notes on a)micro wave heating b)method of choice of electric drives.